# Office of the Board of Directors

P.O. Box 626

Benton City, WA 99320

## Phone:  509-588-4396

Board of Directors Meeting

February 11, 2020

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm.

In Attendance: Chairman Robert Buoy, Director Tyler Wilson, Operations Manager Ed Mitchell, Office Manager Dianne Andrews.

Visitors: none

- January 28, 2020 Meeting Minutes. 
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Elan – Dianne | $1,681.86 |
| --- | --- |
| Elan – Ed | $2,441.22 |
| Warrant 2020-4 | $28,256.71 |
| Warrant 2020-5 | $4,685.40 |
| Total | $37,065.19 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

3.  Administrative Report:

- Discussed letter to CPA revising scope of work. Approved.

- Resolution 2020-3 to transfer $4584.95 from the Pressurized Project Fund to the M&O Fund for pump station repair. Approved.

- January financial statements presented.

- Spring newsletter reviewed.

- Discussed attorney invoice.  Agreed to dispute several charges.

- Maintenance Report:

- Wend Christensen from BOR reported we should receive our 60-day notice of our contract within a few weeks.

- Pump station is cleaned out.  Need to install a few parts and then ready to go

- Seitz plat – pipe depth is as low as 8”, may even have broken the wire. 36” required.

- La Buena Vida – ready for inspection. Found wire did not pass, not all deliveries hooked up, pipe only at 8” not required 30”

- Kaiser – want the 2.6 acres of water we have available and willing to buy more if available.

- Schatz addition – moving ahead with 71 parcels. Currently have 96 gpm to the parcel, will need up to 426. May need to pull from multiple lines.

5.  Executive Session: held

- Resolution 2020-4 Approved

Director Tyler Wilson moved to adjourn the meeting, all in favor.

Meeting adjourned at 4:30 pm.

Robert Buoy-Chairman ___________________

Tyler Wilson-Director    ___________________