July 26, 2021

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am.

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Ed Mitchell, Office Manager Dianne Andrews.

Visitors: none

- July 13, 2021, Meeting Minutes

A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Warrant 2021-15 | $11,940.88 |
| --- | --- |
| Total | $11,940.88 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

3.  Administrative Report:

- Dianne has potential jury duty in September

- Maintenance Report:

- Currently running at 33 cfs

- Washed out a AC units at booster pump stations.

- Replumbed vault at Williams and upgraded the filter from 1.25” to 3”

- Replaced light fixtures at OIE with LED’s

- Washed pumps, motors, filters and concrete at the river pump station.

- Replaced cap, valve and filter in vault at River Road & SR 225

- Have 3.18 acres of water available. Judkins would like 3 acres. Board approves.

- Dump truck is dying randomly. It isn’t the battery or ignition. Next step is to replace the ECM and take to a shop if necessary.

- Executive Session: none

Director Jeff Tar moved to adjourn the meeting, all in favor.

Meeting adjourned at 3:30 pm.

Director    ___________________		Director    ___________________

Director    ___________________