May 10, 2022

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm.

In Attendance: Chairman Robert Buoy, Director, Tyler Wilson, Director Jeff Tarr, Operations Manager Ed Mitchell, Office Manager Dianne Andrews.

Visitors: Mike Krebs

- April 25, 2022, Meeting Minutes

A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Voucher – Elan | $900.07 |
| --- | --- |
| Voucher – REA | $10,584.43 |
| Warrant 2022-9 | $38,629.19 |
| Total | $50,113.69 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

3.  Administrative Report:

- Mike Krebs – Tampering. Mr. Krebs bought the property in 2016 and maintains the pressure has been the same since he bought it and he was not the one to drill the valve. Board voted to stand behind the tampering fine.

- YTD financials – on track with budget. About $125k of assessments outstanding.

- Arbitrage compliance – 10 year review. We are in compliance.

- Maintenance Report:

- Currently running around 15 cfs.

- Flushing vaults and repairing deliveries

- Aaron Weiss – requests an easement variance. Board has preliminarily approved a variance.

- Robert Argento – disputing repair bill. Has not made it to 2 board meetings, so we will lock him out until it’s paid.

- Software at pump station – have been working on it with the computer guys. Are getting a proposal to upgrade. Repairs have been completed on filters 11 and 25.

- Replaced the caps for the pump motors.

- Discussed inspecting properties when they are sold to ensure delivery is correct and functioning.  Will do it for a few months and decide if it’s realistic moving forward

- Executive Session: none

Director Jeff Tar moved to adjourn the meeting, all in favor.

Meeting adjourned at 4 pm.

Director    ___________________		Director    ___________________

Director    ___________________