June14, 2022

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm.

In Attendance: Chairman Robert Buoy, Director, Tyler Wilson, Director Jeff Tarr, Operations Manager Ed Mitchell, Office Manager Dianne Andrews.

Visitors: Robert Argento, Dan Stroud

- May 10, 2022, Meeting Minutes

A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Voucher – 2022-11 | $31,710.37 |
| --- | --- |
| Voucher – Elan | $1,132.65 |
| Voucher – REA | $27,948.25 |
| Total | $60,791.27 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

3.  Administrative Report:

- Arbitrage – Regarding balance in PPF: “If there still is some project spending that needs to take place then we recommend keeping that money in a separate/restricted account until the project is complete. If the spending on the project is complete and a balance still remains in the project fund then we recommend using that money to pay principal and interest on any bonds that remain outstanding.”

- Annual return has been filed.

- Financial statements – Fuel is overbudget, repairs are on budget for now, utilities are low thanks to the rain. Compared to last year: receipts are down, fuel and repairs are up, utilities are down.

- Maintenance Report:

- Currently running around 15 cfs.

- Major plug on Cleo, had to dig up.

- New development going in for 53 mobile homes.

- Meyers – tampering. Dole, prv, etc. all removed and replaced with PVC. Was intact in 2018, have owned since 2014. Owner had a friend repair due to a broken filter. The have returned the unbroken parts and we will reinstall. Will remind homeowner to call for winterization help.

- Stroud – tampering.  Dole valve has been drilled.  Has owned since 2016 but maintains he hasn’t touched it.  Board voted to stand behind the tampering charge.

- Robert Argento – has unpaid bill for improper winterization. Says he drains everything every year. BID will dismantle the PRV and attempt to fix and determine if the cause was actually tampering.

- Leak on E Highland will need to be dug up.

- Currently locking out unpaid assessments.  Have locked 156 of 203. Ordered more locks.

- RPS upgrade: Received bid from Talos to replace obsolete PLC, add a relay, new ethernet connections, replace Phoenix unit, new software, install button to run filter on manual, etc. Cost is $46,800 + 2 extra units and doesn’t include cross wiring. Will order parts now but won’t install until November. Will take from Pressurized Project Fund. 
Board Resolution to approve the Talos Engineering bid to upgrade the PLC @ RPS was made and Approved.

- Executive Session: none

Director Jeff Tar moved to adjourn the meeting, all in favor.

Meeting adjourned at 4:30 pm.

Director    ___________________		Director    ___________________

Director    ___________________