August 30, 2022

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am.

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Ed Mitchell, Office Manager Dianne Andrews.

Visitors: none

- August 16, 2022, Meeting Minutes

A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Warrant 2022-16 | $16,371.11 |
| --- | --- |
| Total | $16,371.11 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

3.  Administrative Report:

- Jeff Tarr has tendered his resignation from the Board. Approved.

- Maintenance Report:

- Currently running around 30 cfs.

- Flushing vaults and cleaning PRV’s

- Working on procedure manual for RPS.

- A/C unit at RPS went down. Initial emergency repair was $3k, and it’s still not working.  Have 2 rental units running. Cost to repair the broken half is $16k, cost to replace with a new, larger 20 ton unit is $30k with a 22-24 week lead time. Board approved replacing the unit.

- Power outage last night.  Up and running within around 30 mintues.

- Executive Session: 30 minutes

Director Jeff Tar moved to adjourn the meeting, all in favor.

Meeting adjourned at 8:45 am.

Director    ___________________		Director    ___________________

Director    ___________________