July 11, 2023

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm

In Attendance: Chairman Robert Buoy, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews.

Visitors: Ed Mitchell, Jeff Tarr

- June 20, 2023, Meeting Minutes
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Voucher – Benton REA | $22,080.17 |
| --- | --- |
| Voucher – Total Energy | $35,468.82 |
| Voucher – Elan | $9,614.73 |
| Warrant – 2023-16 | $15,799.93 |
| Warrant – 2023-17 | $18,056.47 |
| Total | $101,020.12 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

- Visitor Concerns:

- none

- Administrative Report:

- Assessments received: This month $4k, YTD $1,263k, or 98%
Investment income received this month: $0
Misc. Income & rent this month: $426

- Benton County Interlocal Cooperation Agreement – Board is not interested

- Funds Transfers - $117,494.03 from Construction funds to M&O. A/C units, RPS Computer upgrade. Pressurized Project Fund will now be $0.

- YTD Budget vs Actual – starting to creep over budget

- Maintenance Report:

- Currently running at 25 cfs

- Morgan pump #3 motor – need to replace the VFD. Talos quote is $22k + labor. The newer version is actually $5k less expensive including labor. Will order 2 so we have a backup.

- Chandler Canal – have a dry sinkhole about 5-6’ deep. We think it’s coming from the Chandler canal leak. Going to dig on Monday to investigate and talk to BOR about repairs if water is coming from their canal.

- RPS Pump #1 – motor needs to be rebuilt after shut down. Will order parts now.

- RPS Pump #2 – had a shut off, but seems to be fine now.

- RPS – concrete pads are showing their age and will need some repairs after water season.

- Executive Session: 5 min

Director Tyler Wilson moved to adjourn the meeting, all in favor.

Meeting adjourned at 4 pm.

Director    ___________________		Director    ___________________

Director    ___________________