July 22, 2024

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews

Visitors: Manny

- July 9, 2024, Meeting Minutes
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Warrant 2024-16 | $8,656.00 |
| --- | --- |
| Voucher – Enduris | $56,357.00 |
| Voucher – BOR & Total Energy | $28,990.47 |
| Total | $94,003.47 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

- Visitor Concerns:

- none

- Administrative Report:

- Assessments received: MTD $5k, YTD $1260k, or 97%
Investment income received this month: $12k
Misc. Income & rent this month: $2K

- Budget vs. Actual financials – under budget

- Fall newsletter – added delivery photo and notes about clearing Russian olives.

- Maintenance Report:

- Working on lockouts for overdue assessments

- Currently running at 26 cfs

- Morgan has been running 3 pumps regularly.

- Will be cleaning vaults to improve efficiency

- Met w/Cherry Grove. Got all on the same page about upcoming project

- Fire on  Evert knocked out power. Restored Morgan after.

- Will start replacing the non-stop valves that keep failing

- Bought a gasket cutter and have been making gaskets for the keckly strainers. No longer need to replace the strainers and can just replace the gaskets

- Filter 11 is having issues every morning. Getting stuck going up. Might be motor, still troubleshooting

- Executive Session: none

Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 9 am

Director    ___________________		Director    ___________________

Director    ___________________