April 8, 2025

The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 pm

In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews

Visitors: none

- March 27, 2025, Meeting Minutes
A motion was made to approve. All in favor. Approved.

- Operation/Maintenance Vouchers:

| Voucher – Elan | $1,954.20 |
| --- | --- |
| Warrant 2025-9 | $25,904.67 |
| Total | $27,858.87 |

Motion to approve the above-referenced warrants and voucher, all in favor. Approved.

- Visitor Concerns:

- Administrative Report:

- Assessments received: MTD $63k, YTD $810k, or 62%
Investment income received this month: $0k
Misc. Income & rent this month: $1k

- YTD Budget vs. Actual – on track

- Copier – Will get quotes on a new one before tariff pricing goes into effect

- Maintenance Report:

- Start-up went well

- Leaks here and there. Whan/Williams – 1” line, replaced & replaced airvac. Also 2” line coupler joint failed and replaced

- Talos – quote for $10,900 to replace serge protector for filter buckets. Parts are weeks out, then installation

- Morgan – gpm vault recorder doesn’t work. Will talk to Ed regarding how necessary it is to fix. Will also try replacing the leads.

- Doing repairs, haven’t been too many

- Currently running at 8 cfs

- Morgan – pump 3 seal started leaking. Have been running it and it seems to have stopped

- Nestors delivery – parts are here and will start installing this week

- Executive Session: none

Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 3:45 pm

Director    ___________________		Director    ___________________

Director    ___________________