Benton Irrigation District

Office of the Board of Directors

Board of Directors Meeting Minutes


June 10, 2025
The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 3 9m.
In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Tyler Wilson, Operations Manager Jason Blanchard, Office Manager Dianne Andrews
Visitors: Ed Mitchell
1. May 27 2025, Meeting Minutes
A motion was made to approve. All in favor. Approved.
2. Operation/Maintenance Vouchers:

	Voucher – Bureau of Reclamation
	$16,244.63

	Voucher – Benton REA
	$22,523.87

	Voucher – Elan
	$2,518.51

	Warrant 2025-15
	$5,834.63

	
	

	Total
	$47,121.64


Motion to approve the above-referenced warrants and voucher, all in favor. Approved. 
3. Visitor Concerns:

· none
4. Administrative Report:
· Assessments received: MTD $12k, YTD $1,223k, or 94%
Investment income received this month: $0k
Misc. Income & rent this month: $1k

· Cherry Grove Phase 1 short plat came through. 58 parcels

· Budget vs. Actuals – on track. Electricity still really low

· Smart Storage would like to reduce their allocation from 3 acres to 1 acre as it is a commercial property – Denied unless we can find someone to buy the water. 

· Approx. 18 acres of water available currently. Will list on website

5. Maintenance Report:
· Power glitch last week, lag pumps came on but held pressure. Pump #5 wasn’t powering properly and consulted with Fulcrum Electric. Problem was fixed by popping the panel back into position. 
· Talos installed new surge protector today

· OIE building had overheat alarm. Building was actually cool, PLC fan is out. Will replace fan. 

· Currently running at 30 cfs

· Lock outs for non-payment have started, about a third of the way done
· Will do water sample

6. Executive Session: 4-4:30 pm. Operations review
Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 4:30 pm
Director    ___________________

Director    ___________________
Director    ___________________

