Benton Irrigation District

Office of the Board of Directors

Board of Directors Meeting Minutes


September 29, 2025
The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am.
In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Operations Manager Jason Blanchard, Office Manager Dianne Andrews
Visitors: none
1. September 16, 2025, Meeting Minutes
A motion was made to approve. All in favor. Approved.
2. Operation/Maintenance Vouchers:

	Warrant 2025-26
	$19,223.28

	
	

	
	

	
	

	
	

	Total
	$19,223.28


Motion to approve the above-referenced warrants and voucher, all in favor. Approved. 
3. Visitor Concerns:

· none. 
4. Administrative Report:
· Assessments received: MTD $1k, YTD $1,265k, or 97%
Investment income received this month: $14k
Misc. Income & rent this month: $4k

· Newsletters have been mailed
· Website is up to date. Calendar has been added for upcoming Board meeting dates. Still working on making it more visible. 

5. Maintenance Report:
· Currently running at 29 cfs
· Layne Pump – still having issues honing out the top bearing seal. No shavings, but still “sweating” oil out of the shaft. Coming Wednesday to install a new seal with a deeper groove. 
· Oct 6 – Weed cleanout again. Bays 1, 3 & 4 are packed. Butterfly valve is open but not helping. Discussing designs to mitigate for next year. Other districts have said air helps, possibly by making weeds float. Our gate is currently blocking the exit of the weeds, so them floating may not help. They also get hung up on the valves in the area. 

· Nov. 3 – final clean out scheduled

· Whan/Williams – pipe & parts will be $4,041. Plan to replace in November

· Sunset/Montana – Looking to add drain valves as that area tends to freeze every year

· Catholic church construction – have already consolidated their deliveries, everything ok on our side

· New apartments by skate park – delivery not impacted by construction, everything ok on our side

· Nathan Radick with Public Works – precon meeting for Ziply Fiber putting in line from park to Corral Creek. Will attend and do what we can to prevent them drilling through our lines

· Olson Bros – main consolidated delivery off Williams has a 10” PRV that is installed really oddly. It doesn’t regulate correctly and could fail and blow out all their sprinklers. To repair correctly would be $11,000 in part. Will investigate more what exactly to rebuild and if we can downsize their PRV/delivery. Check with them on their future subdividing plans. 

6. Executive Session: 9-9:30 Paid Time Off policies
Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 9:30 am
Director    ___________________

Director    ___________________
Director    ___________________

