Benton Irrigation District

Office of the Board of Directors

Board of Directors Meeting Minutes


March 30, 2026
The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am.
In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Steven Stewart, Operations Manager Jason Blanchard, Office Manager Dianne Andrews
Visitors: none
1. March 16, 2026, Meeting Minutes
A motion was made to approve. All in favor. Approved.
2. Operation/Maintenance Vouchers:

	Warrant 2026-6
	$16,727.15

	
	

	
	

	
	

	
	

	Total
	$16,727.15


Motion to approve the above-referenced warrants and voucher, all in favor. Approved. 
3. Visitor Concerns:

· none
4. Administrative Report:
· Assessments received: MTD $246,424.20, YTD $439,369.70, or 33%
Investment income received this month: $0
Misc. Income & rent this month: $750

· Bathroom remodel – Almost done

· New maintenance person hired

5. Maintenance Report:
· Currently running at 8-9 cfs
· River dropped 2 feet down to 14 feet so running cleaner

· Ziply broke our line in 3 places. They have repaired 2 so far, 3rd should be today

· Filter 23 on the low side – de-threaded screws on motor. Have replacement parts will repair today. Have also replaced motor and microswitch

· Olson delivery done. Bob’s delivery done. 

· Booster Station 2 has a fault. Think we can fix in-house. Have a new replacement pump. We have 2 pumps there and usually only runs at a time so not critical but will still likely do today. 

· Empire/108 2” line that got hit – have pipe to fix. Might need to reroute as it’s too close to electrical now

· Whan/Williams – leaking due to poor repair in the past and is under a new apron. Pipe may not be sleeved as it predates the apron

· Willow – mainline break. There was a tree/shrub over the line, removed it. Also near fresh concrete that may need to be torn up. Will get a quote on the concrete and have them do a few valve cans at the same time

· New apartments – they keep encroaching on our easement. PUD boxes are currently right over our line. Going to make them move our line over. 

· 805 9th – whole property is paved. They would like removed from the rolls but have been told no in the past. They completely took apart delivery and capped it off. Sent them a Tampering charge. 

· Have completed other random repairs – Edith, list on whiteboard

· Ida/Irma – PHP insurance claim. Drain didn’t get closed all the way and it washed out part of the bank and got into the building and their surgical suite

· Benton City – consolidated a few deliveries to get more water to the splash pad and spray park. Have 25 gpm now and seems to be working well

· Pump #4 – still no word from the tension bearing people. They have been contacted multiple time by both Layne Pump and Jason with no response

· Ken’s Work truck – dying intermittently, has white smoke. It’s not the oil, possibly head gasket? Will look into repairs. May need to start thinking about getting a new truck later in the year

· Diesel tank – Driscoll’s is interested in buying our old one. Jason will check prices on new ones but $250 has been initially suggested as a selling price. 

6. Executive Session: none
Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 9:30 am
Director    ___________________

Director    ___________________
Director    ___________________

