Benton Irrigation District

Office of the Board of Directors

Board of Directors Meeting Minutes


April 13, 2026
The Benton Irrigation District’s (BID), Board of Directors (BOD) meeting was held at the District office on Highland Road in Benton City, WA beginning at 8 am.
In Attendance: Chairman Robert Buoy, Director Jeff Tarr, Director Steven Stewart, Operations Manager Jason Blanchard, Office Manager Dianne Andrews
Visitors: none
1. March 30, 2026, Meeting Minutes
A motion was made to approve. All in favor. Approved.
2. Operation/Maintenance Vouchers:

	Warrant 2026-7
	$21,227.34

	Voucher – Elan
	$6,605.84

	
	

	
	

	
	

	Total
	$27,833.18


Motion to approve the above-referenced warrants and voucher, all in favor. Approved. 
3. Visitor Concerns:

· none
4. Administrative Report:
· Assessments received: MTD $288,466.80, YTD $988,799.90, or 75%
Investment income received this month: $0
Misc. Income & rent this month: $607.63

· Sold 2.3 acres of water and we are now fully allocated

· Resolution 2026-1: Appointment of Agent to Receive Claims for Damages. Required by the insurance company. Approved. 

· Resolution 2026-2: Funds transfers to fill Debt Service fund, move last years interest/penalties to the construction fund, and transfer to the Renewal and Replacement fund per our Funds Management Policy. Approved
· Board requested a copy of the Funds Management Policy. Dianne will provide at the next meeting. 
· Budget vs Actuals – on track
· Insurance claim – talking to the adjuster. Prevent Homeless Pets is back up and running. We will likely move their delivery over to prevent future issues. 

5. Maintenance Report:
· Currently running at 14.7 cfs
· Empire/108 – 2” line needs to be replaced

· Willow Way – break. Joint wasn’t glued properly. Fixed the leak and filled in sinkhole.

· Layne Pump – hasn’t actually started working on our pump. Will start looking for a new pump repair place.

· Edith – delivery was torn completely out by the contractor. Will send a tampering charge to the homeowner.

· Williams – if they decide to split back into 2 parcels and BID never installed a delivery, we will need to install it for free as they should have had one originally.

· Apartments – encroaching on our easement and clearly have no plans to comply. It’s currently in the hands of our attorney.

· Williams repair – done

· Olsons delivery – They need 750 gpm on a 10” delivery. The minimum flow on a 10” is much higher than that so we will need to move them to an 8”. 
They drained their pond for a repairs, so we used the opportunity to check the PRV, butterfly valve, etc. Can’t isolate them without shutting off at RPS. Can only turn them off after their delivery. We also can’t control their flow but are unsure why. 
Will replace their 10” butterfly now. In winter will put an 8” reducer, 8” PRV, 8” isolation valve, etc. They are requesting an additional outgoing valve be installed at that time as well. 
6. Executive Session: none
Director Jeff Tarr moved to adjourn the meeting, all in favor.

Meeting adjourned at 9:30 am
Director    ___________________

Director    ___________________
Director    ___________________

